## A. Instructions to Update
Hazardous Substances Inventory
!!!IF YOU DID NOT GET THIS DOCUMENT DIRECTLY FROM THE INTRANET, IT IS NOT THE CURRENT VERSION AND SHOULD NOT BE USED!!!
Information About This Document
• Includes a tab for Hazardous Substances (Tab B) and another for Hazardous Waste (Tab C), as they require different amounts of information • Tab D includes relevant resources • There is a coloured row at the top of Tab B and Tab C which provides the “step” to which this column correlates (i.e. if there is a 3, it correlates to Obtain and Record Information from SDS Sheets). • There are two examples included in Tab B
Steps to Update This Document
| • You will need to visit all places where hazardous substances are used, handled, manufactured or stored, and record the following information in Tab B for hazardous substance, or Tab C for hazardous waste: o Name of Product o Solid, liquid or gas o Size of the container o Open or closed container o The location o Maximum likely amount to be present • You may need more than one inventory – one for each area (maintenance, custodian cupboard, rentals tech shop etc) | A Safety Data Sheet (SDS) contains important information about: o substance identification o first aid o storage o cleaning up spills o suitable personal protective equipment • A current SDS must be available for all hazardous substances, except hazardous waste • Check whether you have a SDS for each hazardous substance o If you do not have one, ask your supplier for one o Also ask your supplier to give you an updated safety data sheet if yours is more than five years old • You must obtain (and the supplier must provide) a compliant and up-to-date SDS for products when they are first supplied to your workplace, or after a significant change to its SDS • As these are gathered, note this in column G of Tab B (SDS not required for hazardous waste) • These SDS should be collated, and made available on site | Use the SDS from Step 2 to obtain the following information. This information shall be inputted to Tab B under the appropriate column (written below in green). SDS are not required for hazardous waste. If you are uncertain about these numbers, or classifications, refer to page 7 of the Practical Guide (link located in the Resources Tab (Tab D)). • The United Nations (UN) Number if available (usually found in Section 14: Transport Information) [Column H] • The UN class and packing group (usually found in Section 14: Transport), [Column I] • The HSNO approval number or the name of the group standard (usually found in Section 15: Regulatory Information) [Column J] • If available, the HSNO classifications (usually found in Section 2: Hazards Identification or Section 15: Regulatory Information) [Column K] and; • Any specific storage requirements (usually found in Section 7: Handling and Storage. For example, “keep away from oxidising agents”) [Column L] | • This Calculator will help you work out what key HSNO controls you need to have in place • The information you include in the calculator is private and no one else has access to that information • Each inventory you start is assigned a unique pin so that you can update your inventory in future o Record this pin in Tab B and/or Tab C (as appropriate) in the space provided • The link to The Calculator is provided in Resources Tab (Tab D) [http://www.hazardoussubstances.govt.nz/hsno-calculator] | • Once you have retrieved the key HSNO controls from the calculator, add these to Tab B and/or Tab C (as appropriate) in the space provided | • Review when: o A new substance is brought to site o There is a change to the maximum quantity of a substance o A substance is moved to be stored in another location • Notify H&S Advisor of this update and review

## B. Hazardous Substances
Hazardous Substances Inventory
Inventory Pin: |  |  | Name of Inventory: |  |  |  |  | Date:
(From the Calculator)
1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 3 | 3 | 3 | 3 | 5
Name of Product | Solid, liquid or gas | Size of the container | Open or Closed Container | Location | Maximum Likely Amount (Kg, L) | Current (<5 years) SDS Available | UN Number (in Section 14 of SDS) | UN Class and Packing Group (in Section 14 of SDS) | HSNO Approval Number and Group Standard Name (in Section 15 of SDS) | HSNO classification (in Section 2 or 15 of SDS) | Special Storage/Segregation Requirements (in Section 7 of SDS) | Required Controls
Polyurethane | Liquid | 4 x 10L 1 x 5L | Closed | Flammable goods cabinet | 45L | Yes |  | HSR002662 – Surface coatings and colourants (Flammable) Group Standard 2006 | UN class: 3 Packing Group: III | 3.1C, 6.1E, 6.3A, 6.4A, 6.5A, 6.5B, 6.8B, 6.9A, 9.1D | Incomptaible with oxidising agents
LPG | Gas | 45kg | Closed | Locked LPG cage | 180kg | Yes |  | HSR001009 | UN class: 2.1 Packing Group: None | 2.1.1A | Incompatible with oxidising agents, flammable liquids and acids Keep away from heat and ignition sources Hazardous area Location compliance certificate required
Explosives, Power Gels | Solid |  | Closed | Patrol, Maintenance | 1 KG
Oxidising Agents | ? |  | Closed | Patrol
Non Flammable Gas | Gas |  | Closed | Patrol
Ionising Radiation | ? | ? | ? | Patrol
Diesel | Liquid | Various | Closed | Greengates, Express, Meadows, Base Building, Maintenance | 55,500L
Grease/Silicone | Liquid | Various | Closed | Greengates, Express, Meadows, Base Building, Maintenance | 50L
Oil | Liquid | Various | Closed | Greengates, Express, Meadows, Base Building, Maintenance | 3200L
Acetic Acid | Liquid | 200L | Closed | Treatment Plant | 1600L
Carbon Dioxide | Gas | 20KG | Closed | Base Building Kitchen | 20KG
Degreaser | Liquid | Various | Closed | Base Building, Maintenance | 120L
Antifreeze | Liquid | Various | Closed | Express Base, Maintenance | 400L
LPG Bottles | Gas | 9KG & 20KG | Closed | Base Building, Maintenance | 630KG
Paint | Liquid | Various | Closed | Base Building, Maintenance | 100L
Batteries | Liquid | Various | Closed | Base Building, Maintenance | X12
Weed Killer | Liquid | 1L | Closed | Base Building, Maintenance | 5L
Oxygen | Gas | 80KG | Closed | Maintenance | 80KG
Argoshield | Gas | 20KG | Closed | Maintenance | 100KG
Acetylene | Gas | 40KG | Closed | Maintenance | 80KG

## C. Hazardous Waste
Hazardous Substances Inventory (Hazardous Waste)
Inventory Pin: |  |  | Name of Inventory: |  |  |  | Date:
(From the Calculator)
1 | 1 | 1 | 1 | 1 | 1 | 2 | 5
Name of Product | Solid, liquid or gas | Size of the container | Open or Closed Container | Location | Maximum Likely Amount (Kg, L) | Special Storage/Segregation Requirements | Required Controls

## D. Resources
Resources
Name | Location (Hyperlinked)
Practical Guide | http://www.hazardoussubstances.govt.nz/media/13982/epa_your_practical_guide_2.pdf
The Calculator | http://www.hazardoussubstances.govt.nz/hsno-calculator
Quick Guide | http://www.worksafe.govt.nz/worksafe/information-guidance/guidance-by-industry/hsno/hazardous-substances-regulations/documents/inventory-requirements-quick-guide.pdf
Worksafe Guidance | http://www.worksafe.govt.nz/worksafe/information-guidance/guidance-by-industry/hsno/hazardous-substances-regulations/inventory